|  | ФОНД “ИНСТИТУТ ЭКОНОМИКИ ГОРОДА” INSTITUTE FOR URBAN ECONOMICS |
| --- | --- |

MONITORING OF WATER AND SEWERAGE UTILITIES

Final report on Russian water and wastewater utilities

Prepared for the EAP Task Force of OECD

By the Institute for Urban Economics

Moscow, 2003

CONTENTS

Introduction	3

Acknowledgements	5

Analysis of Indicators	6

A. Coverage	6

1. Water coverage	6

B. Water Consumption and Production	8

3. Water production	8

4. Water consumption	10

C. Unaccounted for water	12

6. Unaccounted for water	12

D. Metering practices	15

7. Proportion of connections that are metered	15

8. Proportion of water sold that is metered	16

E. Pipe Network Performance	17

9. Pipe Breaks	17

10. Sewerage Blockages	18

F. Cost and Staffing	19

11. Unit Operational Cost	19

12. Staffing	21

13. Labor Costs as a proportion of Operational Costs	23

14. Contracted-out service costs as a proportion of operational costs	24

G. Quality of Service	25

15. Continuity of Service	25

16. Complaints about W&S services	26

17. Wastewater treatment	27

H. Billings and Collections	28

18. Average Tariff W&S	28

19. Water charges as a proportion of average per capita income	30

Tariff policy	31

21. Ratio of industrial to residential charges	31

23. Collection Period	35

I. Financial Performance	36

24. Working Ratio	36

25. Debt Service Ratio	37

J. Utility investment policy	38

26. Investments	38

27. Net Fixed Assets	39

K. Energy consumption	40

L. Environmental impact of utility operations	42

Structural analysis	44

Annex 1. Performance Indicators	46

Introduction

This report summarizes the results of the monitoring that covered water and wastewater utilities in the Leningrad, Perm, and Samara oblasts of the Russian Federation. The monitoring was a follow-up to the indicative survey of Russian water and wastewater utilities performed in 2002 by the Institute for Urban Economics with the organizational support of the OECD ЕАР Task Force and financial assistance from the German Ministry of Environment.

The monitoring was aimed to collect and process information on the surveyed Russian utilities’ operations in 2002 and the first half of 2003.

The monitoring covered 51 utilities serving a total area with over 2.8 million residents (approximately 2% of overall Russian population) and providing water supply services that range, volume-wise, from 140 thousand cubic meters per annum (Malyshevka utility, Kinel district of the Samara oblast) to almost 180 million cubic meters per annum (Permvodokanal utility). The aggregate volume of water production by all participating utilities in 2002 capped 449 million cubic meters. Over the period under review, the minimum and maximum individual utility coverage were 1,600 persons and about 1 million persons (Malyshevka and Permvodokanal, respectively).

As compared to the indicative survey, the monitoring covered 9 out of 14 surveyed utilities in the Leningrad oblast, 28 out of 32 surveyed utilities in the Samara oblast, and all 14 survey participants in the Perm oblast.

All monitored utilities were grouped by regions and the type of service.

The groups of utilities by regions included:

- Leningrad oblast utilities;

- Perm oblast utilities;

- Samara oblast utilities.

By the type of service, utilities were grouped as follows:

- Utilities providing only water supply and sewerage services (vodokanals);

- Diversified utilities with multiple operations, including water supply, sewerage and other services (housing maintenance, heat supply, etc.).

The monitoring was based on the assumptions and conditions similar to those of the indicative survey:

- all utilities covered by the monitoring volunteered for participation;

- the participating utilities provided information required for the computation of indicators inasmuch as it was practicable (under no obligation to submit all information requested);

- the Institute for Urban Economics did not perform a full verification of supplied data on the results of water and sewerage operators’ activities, proceeding from the assumption that all information provided by utilities is accurate;

- where the information received from utilities was clearly unreliable it was removed from the database, with the respective box in the final indicator table marked "n/a" to specify that the data required for indicator computation was not available.

For formalization purposes, information on utility condition and results of operations was translated into standard indicators designed and commonly used by the World Bank. In addition, the Institute for Urban Economics designed extra indicators that characterize the scope of water supply and sewerage services by consumer groups.

Similarly to the indicative survey, consolidated indicators for all monitored utilities were computed based on the principle that original source data is used in consolidated indicator calculations only for those utilities that had provided complete information required for their derivation.

Acknowledgements

This work would not have been possible without the organizational and methodological support of the OECD Secretariat of the EAP Task Force and the Ministry of Environment of Germany. The completion of the monitoring required the coordination of efforts of many experts in various regions of the country. In the course of our work we developed an especially rewarding relationship with the authorities of the constituent entities of the Russian Federation that were the major focus of the monitoring.

The Institute for Urban Economics would like to thank the following individuals for their assistance in the organization and completion of the Monitoring:

- Ildar D. Khairullin, Director of Housing and Utilities Department of the Perm oblast Administration;

- Oleg V. Mayorov, Deputy Director of Economic Development and Investment Department of the Samara oblast Administration;

- Valery Z. Goncharov, Chairman of the Housing and Utilities Commission of the Leningrad oblast Government

- Ivan N. Grigoriev, Vice Governor of the Leningrad oblast Government.

Without your commitment and support, this project would not have come through.

Analysis of Indicators

A. Coverage

1. Water coverage

Overall, water coverage by monitored utilities increased in the first half of 2003 to 88.9% as against 86.0% in 1997. The lowest indicator value was retained by water and sewerage utilities of the Leningrad oblast (83.2% in the first six months of 2003), the highest – by utilities of the Perm oblast where it reached 91.8% by the end of the first half of 2003.

In the last eighteen months, diversified utilities provided water supply services to approximately 88.6% of residential consumers in their service area. In the period from 1997, the indicator value in this group increased by nearly 3%, but remained almost unchanged throughout the last one and a half year. In the period from 2002 through the first half of 2003 the water service coverage of vodokanals was the same.

On the whole, the number of water operators serving all residents in their respective service areas increased from 12 in 1997 to 14 in the first half of 2003. One utility in 2003 provided water services to less than 50% of residents in their service areas.

Indicator 1.1. Water service coverage

50%

60%

70%

80%

90%

100%

1994

1995

1996

1997

1998

1999

2000

2001

2002

2003

Russia

Azerbaijan

Baltic States

Kazakhstan

Ukraine

Moldova

Kyrgiz

2. Sewerage coverage

On the whole, sewerage coverage by all monitored utilities throughout the last eighteen months remained unchanged, totaling in the first half of 2003 to 73.3%. The highest indicator value was that of water and sewerage utilities in the Leningrad oblast – 78.4% by July 2003. The lowest indicator value throughout the period under analysis was shown by water and sewerage utilities of the Samara oblast – 66.9% by the end of the period. It should be noted that indicator values and patterns over the last eighteen months for these two regions were completely opposite: for Samara oblast utilities serving predominantly rural communities, the indicator value increased by 2.1%, while for Leningrad utilities serving mostly urban communities, it dropped by 3.8%, exceeding in the first half of 2003 the 1997 level by only 2.1%.

Overall, of all participating utilities, five operators did not provide sewerage services in their respective areas throughout the monitoring period. From 11 to 17 utilities had more than 75% sewerage coverage in 1997-2003 years.

B. Water Consumption and Production

3. Water production

Water production per consumer reduced over the last eighteen months and made up 410 liters per day in the first half of 2003. The maximum indicator value throughout the analyzed period was shown by Leningrad oblast utilities – 506 liters per day, the minimum – by Samara oblast utilities – 356 liters per day. The group of Leningrad utilities was the only one where the value of this indicator increased in 2003 as compared to 2001. Noteworthy was the trend towards minimizing the difference in indicator values among vodokanals and diversified utilities: water production per consumer by vodokanals exceeded in 1997 that for diversified utilities by more than 1.5 times, whereas in the first half of 2003 this difference did not exceed 3%.

Water production per connection reduced to 134.4 cubic meters per month. However, the divergence of indicator values between vodokanals and diversified utilities was much greater: vodokanals produced 5.7 times more water per connection in 1997, this ratio in the first half of 2003 was brought down to 2.3 times.

4. Water consumption

Daily water consumption throughout the monitoring period reduces from 321 to 316 liters per consumer, monthly water consumption per household remained unchanged.

The charts that present indicator 4.1 quite clearly demonstrate the close relationship between water consumption and the type of service. The minimum consumption per consumer in 1997-2003 was by diversified utilities serving predominantly rural communities, but throughout the analyzed period this indicator increased more than 1.25 times (from 212 liters in 1997 to 278 liters in the first half of 2003), whereas the same indicator by vodokanals reduced from 372 to 329 liters.

C. Unaccounted for water

6. Unaccounted for water

The maximum proportion of unaccounted-for water in total water produced throughout the analyzed period was registered in 2001, when it came to 26.7%. Over the last eighteen months, this indicator dropped by almost a quarter, down to 22.6% by the end of the first half of 2003. A similar trend was exhibited by the Samara oblast (reduction from 29.5% to 19.4%), and the Perm oblast (from 27.9% to 23.1%). The Leningrad oblast set a different trend – since 2000 the indicator had been steadily growing and by July 2003 reached 24%.

The highest indicator level was by diversified utilities – starting from 2000, it invariably exceeded 30%, and over the last one and a half year grew from 32.7% to 34%. Water losses by vodokanals over the last eighteen months reduced from 24.1% to 20.5%.

Water losses per km of water distribution network decreased overall within the period of monitoring from 45.3 to 36.7 cubic meters. In contrast to vodokanals, diversified utilities in the first half of 2003 had water losses that were nearly two times less (44.9 and 22.8 cubic meters, respectively), which was quite predictable given the peculiarities of diversified utilities’ operations (as compared to vodokanals, lower water production with a more extended water supply network). Far more important was the following fact: this indicator value for vodokanals decreased over the last eighteen months almost by 1.5 times, while for diversified utilities it increased from 20.6 in 2001 to 22.8 in first half of 2003.

D. Metering practices

7. Proportion of connections that are metered

The last eighteen months showed an upward trend in the share of metered connections both overall and by groups of utilities. The highest growth was by diversified utilities: metered connections increased overall throughout the analyzed period by more than ten times, from 0.9% in 1997 to 11.7% in the first half of 2003, with this indicator having grown by more than two times over the last one and a half year. The share of metered connections for vodokanals was increasing at a less great pace, which can be explained by the initially high level of this indicator in comparison with diversified utilities: the share of metered connections for vodokanals was 11.5% already in 1997, i.e. almost the same level that diversified utilities achieved by the first half of 2003.

Overall, the share of metered connections increased from 1997 through the first half of 2003 by nearly three times, including throughout the last eighteen months – by two times. Regionally-wise, the highest growth in this indicator as well as its absolute value was registered by utilities of the Samara oblast.

8. Proportion of water sold that is metered

Despite the significant growth in the indicator characterizing metered connections, the proportion of water billed per meter readings over the last eighteen months changed only slightly. Throughout the last one and a half year, this indicator value increased overall from 33.1% to 37.6%. Such increase was due mainly to diversified utilities where the indicator, from 1997 to the first half of 2003, grew by almost 1.5 times, from 16.1% to 25.6%.

E. Pipe Network Performance

9. Pipe Breaks

In 2002, monitored utilities reduced water distribution network malfunctions from 0.8 to 0.7 failures per km of network. In the first half of 2003, malfunctions decreased by almost two times, which is possibly explained by the fact that the highest number of water distribution network malfunctions is registered in the fall and winter. In contrast to vodokanals, malfunctions of diversified utilities’ water distribution networks were at a slightly higher level: 0.67 and 0.92 malfunctions in 2001, 0.71 and 0.74 in 2002, respectively.

10. Sewerage Blockages

The number of sewerage failures dropped in 2002 from 1.2 (2001) to 0.8 failure per km of sewers. The main reason for the overall decline in this indicator by monitored utilities was the reduction in sewerage failures in the Samara oblast (3.1 failures per km of sewers in 2001, 1.8 failures – in 2002). In the Leningrad oblast, sewerage failures throughout the analyzed period invariably remained at the level of 0.1-0.2 failures per km of sewers. Diversified utilities in 2002 decreased the number of sewerage failures by almost four times, from 2.3 to 0.6 failures per km of sewers.

F. Cost and Staffing

11. Unit Operational Cost

Utility unit operational costs during the period of monitoring significantly increased both in relation to water production and billed water. The average ratio of operational costs per annual water produced for all participating utilities increased more than 1.5 times, from $0.1 per cubic meter in 2001 to $0.16.

12. Staffing

In the period from 2001 to July 2003, staff numbers in monitored utilities decreased from 55.2 to 53.2 persons per thousand water connections, from 83.3 to 76.7 persons per thousand water and sewerage connections, from 5.2 to 5.1 persons per thousand water service population, and from 6.4 to 6.3 persons per thousand water and sewerage service population. The maximum indicator value in the first half of 2003 was shown by Perm oblast utilities, the minimum – by the Samara oblast. Vodokanals had 2-3 times more staff per thousand water connections than diversified utilities, with indicator values having remained virtually unchanged for vodokanals, and reduced for diversified utilities in the period from 2002 through the first half of 2003. Staff numbers per thousand water service population for both water and diversified utilities was almost the same (4.9 – 5.0 persons), while staff per thousand water and sewerage service population was, quite naturally, higher for diversified utilities.

13. Labor Costs as a proportion of Operational Costs

Throughout the entire analyzed period from 2001 to 2003, Leningrad oblast utilities were the only utilities to show a steady growth in labor costs as a proportion of operational costs: this indicator was 31.6% in 2001, and reached 42.4% in the first half of 2003 (the maximum value as compared to other regions participated in the indicative survey).

Overall, this indicator over the last eighteen months for monitored utilities was changed very slightly, from 27.7% in 2001 to 27.5% in 2003.

14. Contracted-out service costs as a proportion of operational costs

On the whole, the last eighteen months showed no significant changes: the indicator value from 1997 to 2001 fluctuated within 21% to 23%, and in the first six months of 2003 declined by 1% as against the previous year. Diversified utilities decreased this indicator from 21.1% to 17.4%, vodokanals had a slightly higher indicator value that in the first half of 2003 made up 20.9%.

G. Quality of Service

15. Continuity of Service

In the period from 2002 to July 2003, the vast majority of monitored utilities provided round-the-clock water supply service, consequently, the uninterrupted service indicator remained almost unchanged and in the first half of 2003 was 23.8 hours. Samara oblast utilities increased it over the last eighteen months from 23.9 hours to its maximum, i.e. 24 hours. It should be noted that the monitoring revealed that this indicator value for diversified utilities was higher than for vodokanals (23.9 and 23.8, respectively).

16. Complaints about W&S services

In 2002, the overall number of water and sewerage service quality complaints per connection was 7.1%, having grown by 1.3% as against 2001. The number of complaints about the quality of water and sewerage services provided by diversified utilities exceeded that for vodokanals throughout the last eighteen months by almost four times.

17. Wastewater treatment

Over the last eighteen months, the indicator characterizing the proportion of wastewater treatment in total sewerage services decreased only slightly: from 84% by the end of 2001 to 82% in the first half of 2003. The maximum value of this indicator, beginning from 1997, was retained by Leningrad oblast utilities: 96% in 1997 and in 2001, and 95% in the first half of 2003. The most significant decline in this indicator was registered by Perm oblast utilities: 88%, 81%, and 78%, respectively. The proportion of wastewater treatment in total sewerage services provided by diversified utilities had been exceeding 100% since 2000, and in the first half of 2003 totaled to 110%.

H. Billings and Collections

18. Average Tariff W&S

On average, all utilities in the three regions surveyed exhibit an obvious growth trend in actual revenue: in Leningrad and Perm oblast – from $0.8 per cubic meter of water sold in 2001 to $0.13 in 2003, in Samara oblast – from $0.07 to $0.13.

19. Water charges as a proportion of average per capita income

The indicator characterizing water charges as a proportion of average per capita income did not exceed 1% throughout the analyzed period, which was quite an acceptable level for this indicator. Diversified utilities’ customers including predominantly rural residents spent in 2003 2.2% of their monthly income for water supply services because of the lower per capita income within this consumer group.

Tariff policy

21. Ratio of industrial to residential charges

Over the last eighteen months, the level of cross subsidies among monitored utilities decreased overall from 3.7 times (2001) to 3.2 times (first half of 2003). The maximum level of cross subsidies was registered by Perm oblast utilities: in 1998-2000, the cost of water per cubic meter for industrial customers was 10 times higher than that for residential consumers, in 2001-2002 – over 7 times, in the first half of 2003 it went down to 5.3 times. The minimum indicator level was shown by Leningrad oblast utilities: less than 3 times in the period from 1997 through 1999, less than 2 times in subsequent years, and 1.5 times throughout the last two and a half years.

Table 1. Tariff level for industrial customers

|  | Year 1997 | Year 1998 | Year 1999 | Year 2000 | Year 2001 | Year 2002 | Year 2003 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No data available | 6 | 4 | 4 | 2 | 0 | 0 | 0 |
| Less than 1 ruble | 2 | 0 | 1 | 0 | 0 | 0 | 0 |
| Of 1 to 2 rubles | 11 | 8 | 4 | 1 | 0 | 0 | 0 |
| Of 2 to 3 rubles | 11 | 13 | 10 | 7 | 2 | 2 | 0 |
| Of 3 to 4 rubles | 7 | 6 | 9 | 8 | 6 | 1 | 2 |
| Of 4 to 5 rubles | 4 | 6 | 7 | 11 | 12 | 4 | 3 |
| Of 5 to 10 rubles | 7 | 10 | 12 | 14 | 20 | 27 | 24 |
| Of 10 to 15 rubles | 2 | 3 | 3 | 6 | 6 | 10 | 12 |
| Over 15 rubles | 1 | 1 | 1 | 2 | 5 | 7 | 10 |

Table 2. Changes of tariff for industrial customers in comparison with a level in previous year

|  | Year 1998 | Year 1999 | Year 2000 | Year 2001 | Year 2002 | Year 2003 |
| --- | --- | --- | --- | --- | --- | --- |
| No data available | 4 | 4 | 2 | 1 | 1 | 6 |
| Less than 100% | 5 | 2 | 2 | 2 | 2 | 4 |
| 100% | 21 | 12 | 12 | 7 | 15 | 18 |
| Of 100% to 150% | 13 | 20 | 25 | 26 | 30 | 17 |
| Of 150% to 200% | 5 | 7 | 9 | 13 | 0 | 2 |
| Of 200% to 300% | 3 | 5 | 1 | 2 | 2 | 3 |
| Of 300% to 400% | 0 | 0 | 0 | 0 | 1 | 0 |
| Of 400% to 500% | 0 | 1 | 0 | 0 | 0 | 0 |
| Over 500% | 0 | 0 | 0 | 0 | 0 | 1 |

Table 3. Tariff level for residential customers

|  | Year 1997 | Year 1998 | Year 1999 | Year 2000 | Year 2001 | Year 2002 | Year 2003 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No data available | 7 | 5 | 4 | 2 | 0 | 0 | 0 |
| Less than 1 ruble | 29 | 25 | 20 | 15 | 5 | 1 | 0 |
| Of 1 to 2 rubles | 14 | 19 | 24 | 26 | 24 | 11 | 2 |
| Of 2 to 3 rubles | 1 | 2 | 3 | 6 | 10 | 11 | 13 |
| Of 3 to 4 rubles | 0 | 0 | 0 | 1 | 4 | 13 | 13 |
| Of 4 to 5 rubles | 0 | 0 | 0 | 0 | 6 | 11 | 11 |
| Of 5 to 10 rubles | 0 | 0 | 0 | 1 | 2 | 4 | 11 |
| Of 10 to 15 rubles | 0 | 0 | 0 | 0 | 0 | 0 | 1 |
| Over 15 rubles | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Table 4. Changes of tariff for residential customers in comparison with a level in previous year

|  | Year 1998 | Year 1999 | Year 2000 | Year 2001 | Year 2002 | Year 2003 |
| --- | --- | --- | --- | --- | --- | --- |
| No data available | 7 | 5 | 4 | 2 | 0 | 0 |
| Less than 100% | 6 | 3 | 1 | 1 | 1 | 1 |
| 100% | 15 | 20 | 19 | 3 | 3 | 15 |
| Of 100% to 150% | 17 | 17 | 18 | 21 | 19 | 19 |
| Of 150% to 200% | 3 | 6 | 3 | 11 | 18 | 14 |
| Of 200% to 300% | 2 | 0 | 4 | 10 | 9 | 2 |
| Of 300% to 400% | 0 | 0 | 1 | 2 | 0 | 0 |
| Of 400% to 500% | 1 | 0 | 1 | 0 | 1 | 0 |
| Over 500% | 0 | 0 | 0 | 1 | 0 | 0 |

Table 2. Changes of tariff for residential customers in comparison with a level in previous year

|  | Year 1997 | Year 1998 | Year 1999 | Year 2000 | Year 2001 | Year 2002 | Year 2003 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No data available | 7 | 5 | 4 | 2 | 0 | 0 | 7 |
| Less than 100% | 6 | 3 | 1 | 1 | 1 | 1 | 6 |
| 100% | 15 | 20 | 19 | 3 | 3 | 15 | 15 |
| Of 100% to 150% | 17 | 17 | 18 | 21 | 19 | 19 | 17 |
| Of 150% to 200% | 3 | 6 | 3 | 11 | 18 | 14 | 3 |
| Of 200% to 300% | 2 | 0 | 4 | 10 | 9 | 2 | 2 |
| Of 300% to 400% | 0 | 0 | 1 | 2 | 0 | 0 | 0 |
| Of 400% to 500% | 1 | 0 | 1 | 0 | 1 | 0 | 1 |
| Over 500% | 0 | 0 | 0 | 1 | 0 | 0 | 0 |

23. Collection Period

The collection period indicator which is the quotient of accounts receivable/total revenues steadily decreased throughout the period from 1999 to July 2003. In the first half of 2003, the best situation with collection period was registered by Perm oblast utilities where accounts receivable matched total revenues for 2 months. The highest indicator for the period from 2000 to 2003 was retained by Leningrad oblast utilities: in 2000, accounts receivable corresponded to revenues for 10 months, while in the first half of 2003 this indicator plunged to the level of 4 months.

I. Financial Performance

24. Working Ratio

Overall, water and sewerage services were a profitable business for all monitoring participants: the working ratio decreased in 2002 from 105% to 99%, and in the first half of 2003 further decreased to 89%. It should be noted, however, that in two regions – Leningrad and Samara oblasts – water supply and sewerage service expenses exceeded billings (the indicator value capped 100%), and only in the Perm oblast this indicator, exceeding 100% in 2000, subsequently fell to the first-half 2003 level of 82%.

The expenses/billings ratio for diversified utilities remained maximum throughout the analyzed period and by the second half of 2003 was 129%.

25. Debt Service Ratio

Since 2001, all monitored utilities have been showing a significant growth in the indicator that characterizes the ratio of debt service costs to total water and sewerage service billings. From 1997 to 2000, this indicator was within 0.2% – 0.3%, but in 2001 it grew to 0.7%, and reached its maximum in 2002, having set at 1.1%. The growth in this indicator is due to the vodokanals’ changed debt policy (0.2% in 2000, 1.3% in 2002). For diversified utilities, this indicator did not exceed 0.1%.

J. Utility investment policy

26. Investments

The ratio of total capital investments to billings over the last eighteen months dropped from 20.1% to 11.6%, total capital investments per capita in the utility service area reduced over the last one and a half year by two times, from 86 to 47 rubles, the ratio of depreciation charges to billings steadily declined throughout the period from 1997 to 2003, having lowered to 6.9% by the second half of 2003. Depreciation charges per capita in the utility service area reduced over the last one and a half year by 1.5 times and in the first half of 2003 came to 28.1 rubles.

27. Net Fixed Assets

Overall, the value of fixed assets owned by monitored utilities remained virtually unchanged throughout the last eighteen months, and in the first half of 2003 made up $50 per capita of population in their respective service areas.

K. Energy consumption

The cost of energy consumption by water and sewerage utilities almost doubled as against 2001, from 0.63 to 1.08 rubles per kWh.

Overall, energy consumption related to water supply services provided by monitored utilities reached its maximum in 2002 – 1.24 kWh per cubic meter of water. Despite the first-half 2003 decrease to 1.05 kWh, this indictor still exceeds the level recorded in 1997-2001 (0.84-0.88 kWh per cubic meter of water).

Energy consumption for sewerage services over the analyzed period changed only slightly, within 0.40-0.44 kWh per cubic meter of wastewater, and in the last eighteen months amounted to 0.42 kWh per cubic meter of wastewater.

L. Environmental impact of utility operations

For all monitored utilities, phosphorus discharge reduced throughout the last eighteen months from 2.3 to 2.1 grams per cubic meter. Nitrogen discharge increased from 8.6 to 9.8grams per cubic meter, suspended matter content decreased from 17.2 to 16.5 grams per cubic meter, wastewater BOD in the first half of 2003 made up 18.2 grams per cubic meter.

Structural analysis

Throughout the period under analysis, residential customers remained the main consumers of water supply and sewerage services: the ratio of residential consumers to total water billed over the last eighteen months increased from 65% to 72%, the ratio of residential consumers to provided sewerage services over the same period, although declined from 73% to 66%, still exceeded that of other sewerage service consumers.

At the same time, a larger share of proceeds from water supply and sewerage services is received from other consumers. Thus, the residential consumers to total billings ratio in the first half of 2003 reached 48%, while in 2001 it did not exceed 30%. The ratio of residential consumers to revenues from water supply services in the first half of 2003 reached 47%, which for sewerage services was just a little higher.

The residential consumers to water connections ratio throughout the analyzed period starting from 1997 was over 80%, the indicator characterizing the residential consumers to sewerage connections ratio was at approximately the same level.

Annex 1. Performance Indicators

For the findings of the indicative survey see the Institute's Web site at http://www.urbaneconomics.ru/projects.php?folder_id=14&mat_id=104

The list of all utilities covered by the monitoring is presented in Appendix 1.

Some of the obvious inconsistencies were as follows:

- the number of residential consumers having access to water supply services exceeded the total number of persons residing in the utility service area;

- the number of consumers with access to both water supply and sewerage services exceeded the total number of consumers covered by sewerage services;

- payroll exceeded total annual production costs;

- annual billed water exceeded the volume of water supplied to the distribution system;

- water billed based on meter readings in the absence of metered connections.

Tariff has been reduced

Tariff has not changed

Tariff has been reduced

Tariff has not changed